Grid Load Forecasting & DER Impact Analysis

### Dataset Summary

This dataset simulates the relationship between weather patterns, consumer demand (load), and the increasing influence of Distributed Energy Resources (DERs). It is modeled after the PJM Interconnection (Eastern US) operational style.

- Time-Series Foundation: 5,000 hourly records providing a continuous timeline for forecasting models.

- Weather Correlation: Features temp_celsius and cloud_cover_pct generated with seasonal and daily cycles. The gross_grid_load_mw is mathematically tied to these variables (simulating heating/cooling degree days).

- DER Impact: * der_solar_gen_mw: Modeled based on the sun's arc and cloud density.

  - der_battery_discharge_mw: Simulated to trigger during peak evening hours (5 PM – 9 PM) to reduce grid stress.

- Net Load Calculation: Provides the net_load_mw (Gross Load minus Solar and Battery contributions), which is the primary metric for modern utility balance authority.

- Asset Health & Sensors: Includes voltage_sensor_pu (per-unit) and frequency_hz for analyzing grid stability and power quality.

### Data Dictionary

| Column | Description |
| --- | --- |
| timestamp | Hourly interval (YYYY-MM-DD HH:MM:SS). |
| zip_code | Spatial identifier for local aggregation. |
| temp_celsius | Ambient temperature (Key driver for load). |
| cloud_cover_pct | Cloud density (Inversely correlated with Solar Gen). |
| gross_grid_load_mw | Total electricity demand before DER contributions. |
| der_solar_gen_mw | Renewable energy fed back into the local grid. |
| der_battery_discharge_mw | Stored energy released during peak demand windows. |
| net_load_mw | Actual load seen by the substation after local generation/storage. |
| voltage_sensor_pu | Real-time voltage readings (Nominal is 1.0). |